## ACH
This calculator will help determine CFM requirements for recommended air changes for certain set occupancies. Please fill out the form to the best of your ability. Please fill in the yellow dimension fields and select a room classification and protection level from the drop down box.
Room Length (in feet) | 30
Room Width (in feet) | 20
Room Height (in feet) | 10
Room Occupancy | Restaurant
Protection Level | Minimum Risk/Normal
Recommended Air Changes1 | 8
CFM Required to Achieve ACH | 800
SecureAire APS-1000X | 800 CFM Max
Carrier FN1AAF015000 | 1,500 CFM Max
1. These recommendations are based on guidelines provided by the CDC, ASHREA and other experts. These values are drawn from multiple sources and are only meant to be used as a guide. The installing contractor should use their own professional judement when finalizing CFM requirements.

## Sheet3 (hidden)
Occupancy | Restaurant | Bar | Funeral Home | Office | Retail Space | Waiting Room | Conference Room | Retail Sales Floor | Wedding Barns | Places of Worship | Classrooms | Lobbies | Exam Room | Dental Office | Residential | Occupancy | Risk Level | AC | H1 | H2 | H3 | H4
Restaurant | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Minimum Risk/Normal | Restaurant | Minimum Risk/Normal | 8 | 1 | 1 | 1 | 1 | Minimum Risk/Normal | 8
Bar | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | High Level/High Risk | Bar | Minimum Risk/Normal | 14 | 2
Funeral Home | [15 empty] | Funeral Home | Minimum Risk/Normal | 8 | 3
Office | [15 empty] | Office | Minimum Risk/Normal | 6 | 4
Retail Space | [15 empty] | Retail Space | Minimum Risk/Normal | 6 | 5
Waiting Room | [15 empty] | Waiting Room | Minimum Risk/Normal | 5 | 6
Conference Room | [15 empty] | Conference Room | Minimum Risk/Normal | 6 | 7
Retail Sales Floor | [15 empty] | Retail Sales Floor | Minimum Risk/Normal | 6 | 8
Wedding Barns | [15 empty] | Wedding Barns | Minimum Risk/Normal | 8 | 9
Places of Worship | [15 empty] | Places of Worship | Minimum Risk/Normal | 8 | 10
Classrooms | [15 empty] | Classrooms | Minimum Risk/Normal | 12 | 11
Lobbies | [15 empty] | Lobbies | Minimum Risk/Normal | 6 | 12
Exam Room | [15 empty] | Exam Room | Minimum Risk/Normal | 8 | 13
Dental Office | [15 empty] | Dental Office | Minimum Risk/Normal | 8 | 14
Residential | [15 empty] | Residential | Minimum Risk/Normal | 4 | 15
[16 empty] | Restaurant | High Level/High Risk | 12 | 16 | 16
[16 empty] | Bar | High Level/High Risk | 18 | 17
[16 empty] | Funeral Home | High Level/High Risk | 15 | 18
[16 empty] | Office | High Level/High Risk | 12 | 19
[16 empty] | Retail Space | High Level/High Risk | 12 | 20
[16 empty] | Waiting Room | High Level/High Risk | 8 | 21
[16 empty] | Conference Room | High Level/High Risk | 8 | 22
[16 empty] | Retail Sales Floor | High Level/High Risk | 10 | 23
[16 empty] | Wedding Barns | High Level/High Risk | 15 | 24
[16 empty] | Places of Worship | High Level/High Risk | 15 | 25
[16 empty] | Classrooms | High Level/High Risk | 16 | 26
[16 empty] | Lobbies | High Level/High Risk | 15 | 27
[16 empty] | Exam Room | High Level/High Risk | 12 | 28
[16 empty] | Dental Office | High Level/High Risk | 12 | 29
[16 empty] | Residential | High Level/High Risk | 6 | 30